## Sheet1
Top optics
Time | CMOS ID | Comment
15:40 | 0_27e1deed_1636036929154.bmp | test image for CMOS camera
17:23 | 1_30ab72a8a_1636042879053.bmp | test image
17:30 | 2_33869dacb_1636043247063.bmp | test image, rod almost in position
18:35 | 14_52baf8bfe_1636047267756.bmp | image of calibration rod with light
according to 2018 installation, optical channel 20 is fibre 23, we set it to the middle
probably the reflection is from the window
18:53 | 16_5b4004152_1636048365518.bmp | we set fibre 23 to the middle
18:57 | 17_5d0d4175b_1636048597669.bmp | Fibre 1, not on CMOS
18:58 | 18_5dcd9cd9c_1636048694483.bmp | Fibre 4
18:59 | 19_5e6f52208_1636048775876.bmp | Fibre 18
19:00 | 20_5f0baf84f_1636048854578.bmp | Fibre 51
43:00 | 21_5f3f3c74d_1636048880525.bmp | Fibre 49
67:00 | 22_5f94e08ab_1636048923629.bmp | Fibre 2
19:05 | 23_606865246_1636049030091.bmp | all fibres
43:05 | 24_61081f1ae_1636049110484.bmp | all fibres
micrometer settings: number 5 – 8.44mm
Number 6 – 4.10mm
Fibre 28 spatial calibration by altering micrometer values starts here
Moving micrometer number 5
19:10 | 26_64110150e_1636049501505.bmp | default setting
43:10 | 27_64e1e91cb_1636049606650.bmp | Micrometer 5 6.44mm
67:10 | 28_65b2f4698_1636049711867.bmp | Micrometer 5 4.44mm
91:10 | 29_668984054_1636049819859.bmp | Micrometer 5 10.44mm
115:10 | 30_6771a9cbb_1636049936703.bmp | Micrometer 5 8.44mm (default
Moving micrometer number 6
19:20 | 31_690fae965_1636050145087.bmp | Microm 6 2.1mm
43:20 | 32_69b6ee8b9_1636050229268.bmp | Microm 6 6.1mm
67:20 | 33_6a17aa4c7_1636050277956.bmp | Microm 6 8.1mm
Locking the micrometers at the default position
19:26 | 34_6bad7aec5_1636050482209.bmp | standard fixed position
Spectrometer fibres (SM1)
19:40 | 115_785a753f2_1636052115470.bmp | SM1-03
43:40 | 116_794a5c250_1636052236217.bmp | SM1-01
67:40 | 117_79a592507_1636052282125.bmp | SM1-02
91:40 | 118_79f8606ae_1636052323802.bmp | SM1-04
115:40 | 119_7a574fa1b_1636052371586.bmp | SM1-05
139:40 | 120_7aaabfe7d_1636052413582.bmp | SM1-06
163:40 | 121_7aedf94bc_1636052447413.bmp | SM1-07
micrometer settings: number 5 – 8.44mm
Between images 35-114 took a lot of picture when the same light source was used as for the previous calibration. Almost nothing could be seen
don’t touch the micrometers!
Spectrometer 2 (SM2-Zeff)
20:00 | 122_8178809a4_1636053290240.bmp | SM2-05
44:00 | 123_826cd579a_1636053413217.bmp | SM2-02
68:00 | 124_83490b935_1636053524052.bmp | SM2-01
92:00 | 125_83f7309d0_1636053611703.bmp | SM2-03
116:00 | 126_84e0f2d5c_1636053729359.bmp | SM2-04
140:00 | 127_8697cdccb_1636053950242.bmp | SM2-06 | on the portliner
164:00 | 128_874486c0c_1636054037178.bmp | SM2-07
lower optics setting
21:56 | 131_b0824f822_1636059350779.bmp | Fibre A4 (label 41) lower optics
22:02 | 132_b35eab2e4_1636059719390.bmp | Fibre C4 (label 55) |  | X is on the inboard direction
5cm should be inboard, 10cm should be outboard – fibre 30 should be on the cross
22:02 | 133_c04b2b971_1636061384626.bmp | Fibre 30 (label 9) micrometers adjusted so that it is at the cross
23:07 | 134_d17e2ede8_1636063600749.bmp | Fibre 2 (label 3)
23:13 | 135_d3c3380c4_1636063893195.bmp-163_d3dd7e1a2_1636063906421.bmp | images of all fibres, add them up
setting micrometer B – 4.13 mm, micrometer A – 1.20mm
23:39 | 164_e1082ae40_1636065602947.bmp | Fibre 2 (label 3), standard
47:39 | 165_e16c890c2_1636065653464.bmp | Micrometer A from 1.20 to 2.20mm
71:39 | 166_e1af9616a_1636065687211.bmp | Micrometer A from 2.20mm to 3.20mm
95:39 | 167_e1fbe9aea_1636065725628.bmp | micrometer A to 4.20mm
119:39 | 168_e27d70613_1636065790821.bmp | micrometer A to 1.20mm
143:39 | 169_e2e7d7517_1636065844376.bmp | micrometer B to 3.13mm
167:39 | 170_e33befbd7_1636065886703.bmp | micrometer B to 2.13mm
191:39 | 171_e38e4fdf4_1636065928164.bmp | micrometer B to 1.13mm
215:39 | 172_e419d20fd_1636065998378.bmp | micrometer B to 5.13mm
239:39 | 173_e452a7378_1636066026986.bmp | micrometer B to 6.13mm
263:39 | 174_e4b3cacfd_1636066075879.bmp | micrometer b to 4.13 (default)
probably used fibre 13 everywhere and not fibre 3